## Instructions
WASH in Healthcare Facilities in Response to COVID-19
Simplified WASH FIT Assessment Tool
Instructions:
The tools in this worksheet were developed to accommodate rapid assessment of healthcare facilities for capacity to respond to a surge in COVID-19 cases. The indicators were developed from the WHO/UNICEF “Water and Sanitation for Health Facility Improvement Tool (WASH FIT)” (2018) and were modified for COVID-19 response based upon WHO/UNICEF “Water, Sanitation, Hygiene and Waste Management for the COVID-19 Virus, Technical Brief “(23 April 2020). The tools cover four broad area considered critical to COVID-19 response: • Hand hygiene, Cleaning & Disinfection and PPE • Water • Sanitation and Solid Waste • Building and Power Each area includes indicators and targets within separate tabs for achieving minimum standards for maintaining a safe and clean environment. In addition, the worksheet includes a tab for general information about the healthcare facility and a final scoring tab.
Steps:
1. Review all tabs and decide which indicators will be assessed and monitored, which need to be adapted to national standards and whether additional indicators will be included.
2. Conduct a comprehensive assessment of the facility using the agreed list of indicators; record whether each indicator meets (A), partially meets (B), or does not meet (C), the minimum standards
3. Record additional information in the notes column, for example, the reasons why a particular indicator does not meet the target.
4. Indicator numbers with a * next to them indicate that the notes at the bottom of the spreadsheet provide more details on how to evaluate them.
5. On each tab and within the Scoring tab, tally the percentage of indicators which meet (A), partially meet (B), or do not meet (C) the standards in the summary tables and calculate the overall facility score (the percentage of all indicators meetings the standards).
6. Review the assessment forms to ensure all information is clear and correct and all members of the assessment team agree.
7. For each indicator, note the action that needs to be taken, by who and when.
IMPORTANT: Is there a difference between JMP indicators & WASH FIT?
WASH FIT is a facility-level systems improvement tool (which includes a comprehensive facility assessment), while the JMP indicators are intended for harmonized national level assessment and monitoring to produce global estimates. All of the JMP Core questions for WASH in HCF are included in the WASH FIT assessment. However, WASH FIT goes beyond the 5 indicators (made up of 14 core questions) set by the JMP to cover other issues (e.g. water availability, storage, waste treatment technologies). If countries wish to conduct a national level assessment, all JMP questions should be included at a minimum and if capacity allows, other indicators from WASH FIT may also be added but should be adapted to a survey format (e.g. Yes/No, rather than the traffic light system used by WASH FIT). Indicators in this tool which are also included in the JMP core questions are highlighted in blue.
Sharing feedback:
We would like to hear your feedback from using the tool. Please contact washinhcf@who.int. Where are you using the tool? How could it be improved? What adaptations have been made to suit the local context?
Acknowledgements:
WHO and UNICEF gratefully acknowledge the contributions of Food for the Hungry and Engineers without Borders-USA in simplifying and adapting the WASH FIT tool.

## 1. General
1. General Information
Assessor(s): |  |  |  |  | Contact Details:
Date of Assessment:
Health Facility Name:
Health Facility Location (District, Town, Village, etc.):
GPS Long: |  |  |  | GPS Lat:
Type of Healthcare Facility:
□ | Hospital | □ | Primary care | □ | Temp. clinic
□ | COVID-19 Treatment Unit |  |  | □ | Therapeutic Feeding Center
□ | Other (describe):
Healthcare Facility Management Type:
□ | Government | □ | Non-Government |  | □ | Faith-Based
Contact Name: |  |  |  |  | Position:
Phone: |  |  |  |  | Email:
| Total No. of Staff: | [5 empty] | Occupancy Rate (%):
| No. of Doctors: | [5 empty] | Outpatients/Day:
| No. of Nurses: | [5 empty] | Current COVID-19 No. Inpatients:
| No. of Inpatients: | [5 empty] | Current COVID-19 No. Outpatients:
No. of Beds:
Notes on anticipated future change in caseload due to COVID-19:
General Notes:
Facilities Present
□ | kitchen | □ | triage area |  | □ | inpatient beds
□ | laundry | □ | waiting area |  | □ | mortuary
□ | Toilets or latrines | □ | COVID-19 wait area |  | □ | showers
□ | laboratory | □ | oxygen on site |  |  | no. of ventilators
Electric Power |  |  | Solid Waste Treatment
□ | none |  |  |  |  | general waste | infectious waste | sharps waste
□ | grid power |  | Autoclaved |  |  | NA | □ | □
□ | generator |  | Incinerated (two chamber, 850-1000C) |  |  | □ | □ | □
□ | solar |  | Incinerated (other) |  |  | □ | □ | □
□ | other(describe): |  | Burning in a protected pit |  |  | □ | □ | □
|  |  | Not treated but buried in a lined, protected pit |  |  | □ | □ | □
|  |  | Not treated, but collected for medical waste disposal off-site |  |  | □ | □ | □
|  |  | Open dumping without treatment |  |  | □ | □ | □
|  |  | Open burning |  |  | □ | □ | □
|  |  | Not treated and added to general waste |  |  | NA | □ | □
|  |  | Other(describe): |  |  | □ | □ | □
water supply: |  |  |  | sanitation/hygiene facilities: |  |  | No.
□ | none |  |  | □ | none
□ | dug well with hand pump |  |  | □ | basic pit latrines
□ | dug well with motorized pump |  |  | □ | improved latrines
□ | borehole with hand pump |  |  | □ | flush toilets
□ | borehole with motorized pump |  |  |  | □ | onsite septic
□ | public taps and piped distribution |  |  |  | □ | municipal sewer
□ | rainwater harvesting |  |  |  | □ | none (e.g. discharge to ditch)
□ | trucked water |  |  | □ | hand hygiene stations at points of care
□ | water storage tank |  |  | □ | hand hygiene stations near toilets
□ | other (describe): |  |  | □ | hand hygiene stations in waiting areas
describe:

## 2. Hygiene
2. Hand Hygiene, Cleaning, Disinfection, and PPE
Notes:
* | See associated notes below
No. | Indicator | Meets target (A) | Partially meets target (B) | Does not meet target (C) | Rating (A, B, or C) | If indicator score <2, provide details of the problem | Action to be taken | Status update (Not yet started / in process / completed)
2.1* | Functioning hand hygiene stations are available at key locations throughout the facility. | Yes | Some stations present but more are needed | None present | a
2.2 * | Hand hygiene promotion materials clearly visible and understandable at key places | Yes | Some places but not all | None present | a
2.3 * | COVID-19 risk communication materials are posted at key places | Yes | Some places but not all | None present | a
2.4 | Soap and single-use towels or alcohol-based hand rub supplied at all hand hygiene stations | Yes | Some places but not all | None present | b
2.5 | Hand washing stations are always supplied with water or are supplied by piped water | Yes | Some places but not all | None present | b
2.6 | Staff regularly monitor hand hygiene stations for adequate soap or other hand hygiene products and availability of water | Yes | Procedure is known but not applied | Procedure is not known or applied | C
2.7 | An adequate number of dedicated, trained cleaning staff are available | Yes | Dedicated staff available but not sufficient number/times | No dedicated cleaning staff available | C
2.8* | Cleaning protocols are available. | Yes | Protocol available but inadequate | No protocol available | C
2.9 | Appropriate and well maintained materials for cleaning (detergent, mops, buckets, etc.) are present | Yes | Available but in poor condition or available but not throughout facility | Not available | C
2.10* | Appropriate personal protective equipment (PPE) is provided for any staff screening patients or working with suspected or known COVID 19 cases. | Yes | Available but in poor condition or inadequate supplies | Not available | c
2.11 | Heavy duty gloves, mask, goggles or faceshield, long sleeved gown/apron, and closed shoes/boots in good state are provided for all cleaning and waste disposal staff | Yes | Available but in poor condition or inadequate supplies | Not available | A
2.12 | Health care personnel new to the facility receive hand hygiene/IPC training as part of their orientation programme | Yes | Some but not all are trained or training is not adequate | No training takes place | c
|  | Hygiene Scoring |  |  | Count | %
|  | Indicators that meet targets |  |  | 4 | 33.33%
|  | Indicators that partially meet targets |  |  | 2 | 16.67%
|  | Indicators that do not meet targets |  |  | 6 | 50%
|  | Total Hygiene and IPC Score |  |  | 12 | 41.67%
Hygiene, Cleaning, and Disinfection Notes
2.1 | Key locations include every critical HCFs room (entrance, screening and observation, points of care, toilets, laboratory, kitchen, laundry, showers, waste zone, mortuary, and exit). List any key locations without hand hygiene stations in the notes.
2.2 | Key locations include points of care, the waiting room, at the facility entrance and at toilets.
2.3 | Key locations include points of care, the waiting room, and at the facility entrance.
2.8 | Protocols should include (1) step-by-step techniques for specific tasks, such as cleaning a floor, cleaning a sink, cleaning a spillage of blood or body fluids, and (2) a cleaning roster or schedule specifying responsibility for cleaning tasks and frequency at which they should be performed.
2.10 | Appropriate PPE for COVID-19 response includes: a. Disposable gloves b. Clean, long-sleeve gown, c. Medical mask that covers the mouth and nose d. A respirator (N95)when caring for a suspected/confirmed case of COVID-19 with an aerosol generating procedure e. Eye protection such as goggles or a face shield
A
B
C

## 3. Water
3. Water
Notes:
* | See associated notes below
No. | Indicator | Meets target (A) | Partially meets target (B) | Does not meet target (C) | Rating (A, B, or C) | If indicator score <2, provide details of the problem | Action to be taken | Status update (Not yet started / in process / completed)
3.1* | Improved water supply piped into the facility or on premises and available | Yes | Improved water supply on premises but outside of facility | None present or in place but not available | c
3.2* | Water services available at all times and of sufficient quantity for all uses | Yes | More than five days per week or every day but not of sufficient quantity | Fewer than five days per week | a
3.3 | A reliable drinking water station is present and accessible for staff, patients, and care givers at all times and in all locations/wards | Yes | Sometimes or only in some places or not available for all users | Not available | b
3.4* | Potable water is treated with chlorine (0.5-1.0 mg/l free chlorine residual) or treated with a proven technology that meets MoH or WHO performance standards | Yes | Water reported to be safe but not regularly treated | None present | b
3.5* | Water storage is sufficient to meet anticipated demands of the facility for two days | Yes | Water storage is present but does not meet two days need | None present | c
3.6* | Where water resources are constrained, water conservation/ reduction strategies are used | Yes | Some water is conserved/ re-used but more could be done | None used | c
|  | Water Scoring |  |  | Count | %
|  | Indicators that meet targets |  |  | 1 | 16.67%
|  | Indicators that partially meet targets |  |  | 2 | 33.33%
|  | Indicators that do not meet targets |  |  | 3 | 50%
|  | Total Water Score |  |  | 6 | 33.33%
Water Notes
3.1 | Improved water sources in health care settings include piped water, boreholes, tube wells, protected wells, protected springs, rainwater, and packaged or delivered water. This refers to the water supply for general purposes, including drinking, washing, and cleaning
3.2 | For an intermittent piped water supply, e.g. available eight hours per day.
3.4 | Evidence of documented chlorine residuals should be available from previous testing. Proven technologies should meet one of WHO's household water treatment and safe storage performance categories and generally involve filters, boiling, solar, chlorine or coagulation/flocculation.
3.5 | Estimated daily demand = (10 liters x # of staff & outpatients) + (40 liters x # of beds). Water tanks should be raised. For more details, refer to the WHO 2008 Essential Environmental Health Standards
3.6 | Water conservation strategies may include capturing rainwater, greywater and/or stormwater and reusing for washing, cleaning, watering plants and toilet flushing.
A
B
C

## 4. Sanitation& Healthcare Waste
4. Sanitation and Solid Waste
Notes:
* | See associated notes below
No. | Indicator | Meets target (A) | Partially meets target (B) | Does not meet target (C) | Rating (A, B, or C) | If indicator score <2, provide details of the problem | Action to be taken | Status update (Not yet started / in process / completed)
4.1* | An adequate number of usable toilets or improved latrines are available for staff, patients, and visitors | Yes | Sufficient number present but not all functioning or insufficient number | Less than 50% of required number available and functioning | a
4.2 | Toilets or improved latrines clearly separated for staff and patients and for males and females | Yes | Separate latrines are available but not clearly separated | No separate latrines | a
4.3* | Functioning hand hygiene stations within 5m of latrines | Yes | Present but not functioning, >5m, or no soap | Not present | a
4.4* | Wastewater is safely managed though use of on-site treatment (i.e. septic tank and soakage pit) or sent to a functioning sewer system | Yes | Present but not functioning | Not present | b
4.5* | Separate, functional waste collection containers in close proximity to waste generation points for: ˑ non-infectious (general) waste ˑ infectious waste ˑ sharps waste | Yes | Separate bins present but lids missing or more than three quarters full or not enough bins | No bins or separate sharps disposal | c
4.6 | Infectious waste stored in protected area and treated/collected within safe time period | Yes | Waste storage area not protected or waste kept for longer than requirements | No storage area available | c
4.7 | Functional waste pit/fenced waste dump or municipal pick-up available for disposal of non-infectious waste | Yes | Pit in facility but insufficient dimensions; overfilled or not fenced and locked; irregular municipal waste pick up, etc. | No pit or other disposal method | c
4.8 | Incinerator or alternative treatment technology for the treatment of infectious and sharp waste is functional and of a sufficient capacity | Yes | Present but not functional and/or of a sufficient capacity | None present | c
|  | Sanitation Scoring |  |  | Count | %
|  | Indicators that meet targets |  |  | 3 | 37.5%
|  | Indicators that partially meet targets |  |  | 1 | 12.5%
|  | Indicators that do not meet targets |  |  | 4 | 50%
|  | Total Sanitation and Waste Score |  |  | 8 | 43.75%
Sanitation and Solid Waste Notes
4.1 | At least three toilets per outpatient setting (one for staff, one for male and one for female patients). Recommended toilet or latrines minimum per Sphere guidelines is 1 toilet per 20 beds or 50 outpatients. Improved sanitation facilities include flush toilets into managed sewer or septic tank and soakaway pit, VIP latrines, pit latrines with slab, and compositng toilets. To be usable, the toilet/latrine should have a door which is unlocked when not in use and can be locked from the inside during use, there should be no major holes in the structure, the hole or pit should not be blocked, water should be available for flush/pour flush toilets, and there should be no cracks, or leaks in the toilet structure. It should be within the grounds of the facility and it should be clean as noted by absence of waste, visible dirt, excreta, and insects.
4.3 | A functional hand hygiene station may consist of soap and water with a basin/pan for washing hands.
4.4 | There should be no leakage from pipes nor soakaway and all sanitation facilities should be located at least 30 m from any water source.
4.5 | Functional means waste containers should not be more than three-quarters full, be leak-proof with a lid, and clearly labelled.
A
B
C

## 5. Building and Power
5. Building and power
Notes:
* | See associated notes below
No. | Indicator | Meets target (A) | Partially meets target (B) | Does not meet target (C) | Rating (A, B, or C) | If indicator score <2, provide details of the problem | Action to be taken | Status update (Not yet started / in process / completed)
5.1 | The facility has separate entrances for COVID-19 and non-COVID-19 cases to enter and exit | Yes | Multiple entrances but not currently marked for COVID-19 cases | No separate entrance | a
5.2 | The facility has separate waiting rooms for COVID and non-COVID patients | Yes | Separate room is available but not currently marked for COVID-19 patients | No separate waiting area | a
5.3 | The facility has posters reinforcing social distancing and waiting rooms accommodate 2m social distance | Yes | Posters lacking | Waiting room has insufficient space | b
5.4 | The facility has reliable electric power (less than 2 hrs of down time per day) | Yes | Facility has power but it is down for 2-8 hours per day | No power at facility or not available for 8+ hours/day | c
5.5 | Power is sufficient to run all necessary equipment at the same time | Yes | Facility must manage loads by turning off some equipment/ can operate some but not all equipment | Power is not sufficient to run any equipment | c
5.6 | The facility has a backup power source (generator) sufficient to power critical equipment | Yes | Present but not functioning or inadequate fuel supply | Not present | c
|  | Sanitation Scoring |  |  | Count | %
|  | Indicators that meet targets |  |  | 2 | 33.33%
|  | Indicators that partially meet targets |  |  | 1 | 16.67%
|  | Indicators that do not meet targets |  |  | 3 | 50%
|  | Total Building and Power Score |  |  | 6 | 41.67%
Building and Power Notes
A
B
C

## Scoring
Facility Scoring
|  | Assessment No:____ |  | Assessment No:____ |  | Assessment No:____
|  | % | Notes | % | Notes | % | Notes
Hygiene, Cleaning, Disinfection, and PPE Total number of indicators assessed: | Assessment Date:
| A | 33.33%
12 | B | 16.67%
| C | 50%
| Total Hygiene Score | 41.67%
Water Total number of indicators assessed: | Assessment Date:
| A | 16.67%
6 | B | 33.33%
| C | 50%
| Total Water Score | 33.33%
Sanitation and Solid Waste Total number of indicators assessed: | Assessment Date:
| A | 37.5%
8 | B | 12.5%
| C | 50%
| Total Sanitation and Waste Score | 43.75%
Building and Power Total number of indicators assessed: | Assessment Date:
| A | 33.33%
6 | B | 16.67%
| C | 50%
| Total Building and Power Score | 41.67%
Overall Facility Score Total number of indicators assessed: | Assessment Date:
| A | 31.25%
32 | B | 18.75%
| C | 50%
Total Facility Score |  | 40.62%