**Water, Sanitation and Hygiene (WASH) Assessment for Healthcare Facilities**

**HCF #8**

Director's Name: Name 8

Facility Address: Address 8

Average Patients per Month: 238

Average Births per Month: 0

Number of Beds: 3

Number of Staff Members: 13

Catchment Size: 270988

*This report is based on data you collected and inserted in the Excel Evaluation Tool (which was designed according to international guidance for WASH standards). This report highlights your facility’s strengths in terms of WASH. It also provides recommendations on issues which can be addressed with limited resources (such as handwashing facilities), as well as which issues will likely require additional financial resources and technical support (such as a new water source). A separate document (the decision tree titled Gap Recommendations) provides guidance on resolving these issues.*

**Strengths**

There are many things that this healthcare facility has in place to provide and maintain WASH services, including:

- A budget for WASH

- A safe water source available on premises

- Water treated

- Handwashing available at points of care

- Segregation of waste in the wards

- Healthcare workers able to routinely wash their hands before and after seeing a patient

**Minor Issues to Resolve**

There are some issues at this healthcare facility that may be able to be fixed without additional resources. These issues include:

- Clean latrines/toilets

- Latrines/toilets dedicated for staff

- Sex-separated latrines/toilets

- Menstrual hygiene facilities within female toilets

- Handwashing facilities within 5 meters of toilets

- Cleaning protocols available and followed

- Trained cleaning staff

- Protocols for routine maintenance

**Major Issues to Resolve**

There are some major issues at this healthcare facility that must be addressed and may require external support. These include:

- Flood prevention

- Proper disposal of fecal waste

- Usable latrines/toilets

- Disability accessible latrines/toilets

- Safe disposal of infectious waste

- Safe disposal of sharps