WASH IN HEALTH-CARE FACILITIES IN EMERGENCIES

COMPREHENSIVE WASH ASSESSMENT TOOL

# This comprehensive assessment tool (CAT) has 12 sections: water supply, excreta disposal, wastewater and site drainage, waste management, disease vector control, infection control, handwashing, water quality testing, key informant questions, a sketch map, an action plan template and a hazard summary template.

# The CAT has been designed to be used with any size of health-care facility from a small health post to a complete hospital, therefore only complete the sections that are relevant to the infrastructure being assessed.

# The main purpose of the CAT is to identify problems and generate control measures to bring conditions up to the recommendations in Chapter 3. Refer to the guidance notes in Chapter 3 for clarification on definitions.

# Ask staff to guide you along the WASH systems (water, excreta, waste, wastewater) from origin to disposal and document the type, size and specification of the system’s component elements including any damage. Tick the boxes of major hazards that are encountered (or are likely to  occur during the emergency phase).

# As you follow the systems, talk to users about problems, take photos, and ask for their ideas for solutions.

# This form attempts to capture most public health hazards, however the user should apply common sense and document any additional hazards that are encountered in the spaces provided.

# Take into account the current situation, including possible patient increase or loss of infrastructure & supplies.

# Discuss results with the facility staff before departing. Matters of extreme urgency should be communicated immediately to the facility management and WASH coordinating authorities so rapid action can be taken.

| SECTION I: HEALTH-CARE FACILITY WATER SUPPLY COMPREHENSIVE ASSESSMENT |
| --- |
| Water Sources | ( Piped Water (provide installation data and tick all hazards that apply, add others if needed) |
|  | ( Pipe Material(s)_______ ( Pipe Lengths ______(m) ( Diameters _____(mm) ( Water Source _______ |
|  | Intermittent supply / negative or low pressures? Insufficient chlorination? Visible water leaks? | Illegal water connections? Bad smell, taste, colour or other problems with acceptability? Water network flooded? | Lack of backflow prevention? Low flows / stagnant branches? Inadequate cold protection? ________________________ |
|  | ( Borehole ( Protected Well ( Unprotected Well (provide installation data and tick hazards that apply) |
|  | ( Static Groundwater Depth _____(m) ( Well / Borehole Diameter _____(m) ( Apron Diameter _____(m) ( Sanitary Seal Depth _____(m) ( Headwall Height _____(m) ( Design Abstraction Flow Rate _____(l/s) |
|  | Latrine, sewer, septic tank, waste, stagnant water, flood water within 10m / 30ft? Insufficient chlorination? Sanitary seal < 3m / 9ft? Scale, microbial growth? | Cracks, leaks or visible openings around pump attachment? Concrete apron < 3m / 9ft wide? Abstraction risk (e.g. bucket)? No surface water protection? Lack of backflow prevention? | Lack of fence? Poor drainage? Groundwater seasonal? Bad smell, taste, colour or other problems with acceptability? ________________________ |
|  | ( Stream ( River ( Pond ( Lake ( Creek / Marsh ( Irrigation Canal ( Kareze (tick all that apply) |
|  | ( Intake Width _____(m) Height _____(m) Length _____(m) ( Material ____ ( Flow Rate _____(l/s) |
|  | Human settlements or activity upstream? Latrine, septic tank, waste, stagnant water within 100m / 300ft of collection point? | Cracks, leaks or visible openings into intake structure? Insufficient chlorination? Poor drainage around intake? Bad smell, taste or colour? | Surface water seasonal? Lack of fence? Lack of routine water testing? ________________________ ________________________ |
|  | ( Protected Spring ( Unprotected Spring (provide installation data and tick all hazards that apply, add others if needed) |
|  | ( Width ____(m) Height ____(m) Length ____(m) Altitude ____(m) ( Material ____ ( Flow Rate ____(l/s) |
|  | Human settlements or activity above catchment? Latrine, sewer, septic tank, waste, stagnant water, flood water within 10m / 30ft? Insufficient chlorination? | Cracks, leaks or visible openings into spring capture? Inadequate capping / sealing? Lack of upstream surface water diversion canal? Bad smell, taste, or colour? | Walls inadequately sealed? Lack of fence around spring? Poor drainage around spring? Spring seasonal? ________________________ ________________________ |
|  | ( Rainwater (provide installation data and tick all hazards that apply, add others if needed) |
|  | ( Roof Area ______(m2) ( Roof Material _______ ( Gutter Length _______(m) ( Gutter Material ______ |
|  | Roof or gutter contamination (plants, dirt etc)? Overhanging trees? | Inappropriate roof material (e.g. asbestos)? Roof poorly maintained? | Absence of first flush diverter? Entry not covered / screened? ________________________ |
| Transport | ( Water Tanker (provide installation data and tick all hazards that apply, add others if needed) |
|  | ( Volume ____(m3) ( Type ______ ( Delivery Frequency ____ ( Water Source ______ ( Distance ____ |
|  | Inappropriate tanker type? Access problems (insecurity, route condition)? | Inadequately sealed / covered? Corrosion, scale, biofilms? Fuel problems (availability)? | Insufficient chlorination? Bad smell, taste, colour, other? _________________________ |
| Water Abstraction | ( Handpump ( Rope Pump ( Windlass ( Rope and Bucket ( Shadoof ( Submersible Pump ( Jet Pump ( Centrifugal Pump ( Ram Pump ( Wind Pump ( Other __________ (tick all that apply) |
|  | ( Device Make _______ ( Device Model _______ ( Design Flow Rate ______(l/s) ( Power ______(kW) |
|  | Contamination risks from oil, fuel, or grease leaks? Inadequate fuel storage (contamination or fire risk)? Contamination risks from users (e.g. bucket)? No backflow prevention? | Cracks, leaks or openings around device attachment? Inappropriate construction material (e.g. lead)? Device poorly maintained? Presence of corrosion, scale, sediment, biofilm? | User puncture / amputation / drown / slip / electrocution risk? Inappropriate for vulnerable groups (disabled / children)? No fence around facility? Lack of fuel / electricity / spares? _________________________ |
| Bulk Water Treatment | ( Sedimentation Basin ( Chlorination ( Roughing Filter ( Slow Sand Filter ( Coag / Flocculation ( Infiltration Gallery ( UV Irradiation ( Membrane Filtration ( Reverse Osmosis ( Other ________ |
|  | ( Device Make ________ ( Device Model ________ ( Design Flow Rate ________ ( Size ________ |
|  | Latrine, septic tank, waste, stagnant water, <10m / 30ft? Unit inadequately sealed / covered / unsanitary? Water or chemical leaks? Corrosion, scale, biofilm? Incorrect flow rates? Insufficient retention times? | Poor maintenance / lack of cleaning / filter replacement? Insufficient treatment stocks? Lack of equipment (syringes / scales / measuring cylinders)? Lack of personal protective equipment (chemicals)? No treatment facility fence? | Inappropriate material (lead)? Insecure or inadequate treatment chemical storage? Risk of excessive dosage of treatment chemicals? Inadequate disposal of treatment wastes / sludges? _________________________ |
| Water Storage | ( Concrete / Brick / Stone Tank ( Metallic Tank ( Elevated Tank ( Oxfam Tank ( Onion Tank ( Subsurface Tank ( Polyethylene Tank ( Bladder Tank ( Jerry Cans ( Buckets ( Other______ |
|  | ( Brand ________ ( Volume _______(m3) ( Daily Supplied Volume _______(m3) ( Material _________ |
|  | Insufficient storage (one days supply)? Inadequately sealed / covered / leaking? | Latrine, sewer, septic tank, waste, stagnant water, flood water within 10m / 30ft? Presence of birds / vermin? | Presence of corrosion, scale, sediment, biofilm? Poor maintenance / cleaning? _________________________ |
| Water Distribution | ( Piped Network ( Water Collection Points ( Handwashing Sinks ( Dishwashing Sinks ( Laundry Sinks ( Showers ( Other ____________ (provide data and tick all hazards that apply) |
|  | ( # Functional Water Points __________ ( Total Daily Users ________ ( Coverage Rate ________ |
|  | Intermittent supply / negative or low pressure? Visible water leaks? Insufficient chlorination? Insufficient flows? Insufficient # water points? Inappropriate pipe material? | Sewer, septic tank, waste, stagnant water, < 10m / 30ft? Absence of water points anywhere health-care is delivered, food prepared or eaten, or < 5m / 15ft of toilets? Inappropriate for vulnerables? | Standing water at water points? Illegal connections? Poor maintenance scheduling? Network cross contamination? Low flows / stagnant branches? Inadequate cold protection? _________________________ |
| POU Treatment | ( Ceramic Filter ( BioSand Filtration ( Multistage Filtration ( POU Chlorination ( POU Coag/Flocc ( SODIS ( Boiling ( Other ____________ (provide data and tick all hazards that apply) |
|  | ( Brand ________ ( Volume _______(litres) ( Daily Treated Volume _______(litres) |
|  | System inadequately sealed? Presence of corrosion, scale, sediment, biofilm? | Insufficient retention times? Incorrect flow rates (too high)? Poor maintenance / cleaning? | Poor handling / hygiene? Lack of spare parts / filters? _________________________ |
| Management | ( Qty Fuel ______ ( Number of Operators ______ ( Other __________ (provide data, tick all that apply) |
|  | Unreliable source of power? Insufficient stores of fuel? Insufficient stock of spare parts or consumables? | Insufficient numbers of maintenance staff? Lack of equipment / tools? Staff insufficiently trained? | Poor routine maintenance schedule? ________________________ _________________________ |
| SECTION II: HEALTH-CARE FACILITY EXCRETA DISPOSAL ASSESSMENT |
| Toilet Superstructure | ( Plastic Squatting Slab ( Wooden Squatting Slab ( Concrete Sanplat ( Ceramic Pour Flush Slab ( Non Reinforced Dome Concrete Slab ( Urine Diverting Toilet ( Ceramic Cistern Flush Toilet ( Bucket Latrine ( Non Flush Pedestal Type Toilet ( Drum Latrine ( Tank Latrine ( Plastic Bag Latrine ( Portable Toilet ( Trench Latrine ( Defecation Field ( Other ____________ |
|  | ( Number of Cubicles _______ ( Total Daily Users ________ ( Coverage Rate ________(persons/toilet) |
|  | Toilet block unsanitary (excreta on toilet surface, or inside cubicle / bathroom)? Toilet block flooded? Insufficient # of toilets? Insufficient toilet distribution (no toilets < 50m / 150ft of where health-care delivered, or food prepared or eaten)? Lack of privacy? Lack of security (lack of functional lock or lighting)? | Lack of dedicated cleaning equipment (buckets / mops, brushes, detergent etc.)? Insufficient water for adequate operation (flush not working)? Lack of functional handwashing station within 5m / 15ft of toilet? Evidence of open defecation? Inadequate cleaning of toilet block (< twice a day or strong smell of excreta or urine)? Culturally inappropriate design? | Fly infestation (flies observed during assessment period)? Lack of dedicated toilets within isolation areas? Insufficient number of toilets for vulnerable groups (elderly / infirm / disabled / children)? Lack of personal protective equipment for cleaners (gloves, aprons, overalls, boots)? _________________________ _________________________ |
| Collection / Storage | ( Offset Pit ( Direct Pit ( Double Pit ( Raised Pit ( Dehydrating Vault ( Composting Vault ( Septic Tank ( Sewage Holding Tank ( Transfer Station ( Biogas Vault ( Other ____________ |
|  | ( Vault / Pit Capacity _______(m3) ( Used Volume ____(%) |
|  | Excreta containment structure inadequately covered or sealed? Containment structure < 1.5m / 5ft of groundwater? | Fly infestation (flies observed during the assessment period)? Excreta containment structure visibly cracked / broken / leaking / flooded? | Excreta containment structure full or overflowing? Presence of vermin or other vectors? _________________________ |
| Excreta Handling | ( Human Emptying ( Motorized Emptying ( Buckets ( Vacuum Pumps ( Diaphragm Pumps ( Centrifugal Pumps ( Other ____________ (provide installation data and tick all hazards that apply) |
|  | ( Device Make ________ ( Device Model ________ ( Power__________(kW) |
|  | Excreta leakage? Direct contact between excreta and personnel? Visible traces of excreta on equipment during transportation or storage? | Desludging equipment or vehicles inadequately cleaned or disinfected (0.2% chlorine), between desludging? Inadequate disposal of desludging cleaning water? | Lack of personal protective equipment for desludging staff? Lack of on-site showers for desludging staff? ________________________ _________________________ |
| Transportation | ( Sludge Tankers ( Sludge Carts ( Sealed Drums ( Other ____________ (tick all hazards that apply) |
|  | ( Volume ______(m3) ( Type ___________ ( Emptying Frequency _______ ( Condition _______ |
|  | Excreta transportation tank overflowing, leaking, or poorly sealed / covered? Unauthorized dumping? | Visible traces of excreta on transportation system? Visible traces of excreta along transportation route? | Fly infestation (flies observed during assessment period)? Insufficient fuel / capacity? _________________________ |
| Sewers | ( Conventional Sewer ( Simplified Sewerage ( Interceptor Sewer ( Vacuum Sewer ( Other ____________ (provide installation data and tick all hazards that apply) |
|  | ( Sewer Material _______ ( Lengths ______(m) ( Diameters ______(mm) |
|  | Sewer pipes or inspection chambers overflowing, blocked or leaking? Insufficient retention times? | Sewer pipes exposed or buried less than 0.5m / 2ft? Inspection chambers or rodding eyes inadequately sealed? | Fly infestation (one or more flies observed on inspection)? _________________________ _________________________ |
| Disposal | ( Fill And Cover ( Leach Field ( Other __________ (provide installation data and tick all hazards that apply) |
|  | Untreated disposal of excreta into water bodies? Excreta disposal location less than 1.5m / 5ft above groundwater level? | Fly infestation (flies observed during the assessment period)? Application of untreated excreta to directly to land, or inadequate soil cover depth? | Lack of personal protective equipment? ________________________ ________________________ _________________________ |
| SECTION II: HEALTH-CARE FACILITY EXCRETA DISPOSAL ASSESSMENT CONTINUED… |
| Excreta Treatment | ( Off Site Sewage Treatment Works ( Waste Stabilization Ponds ( Anaerobic Digester ( Constructed Wetlands / Reed Beds ( Septic Tank ( Trickling Filter ( Activated Sludge ( Thickening Ponds ( Drying Beds ( Composting ( Other ____________ (tick all that apply) |
|  | ( Width ____(m) Height ____(m) Length ____(m) ( Volume ____(m3) ( Flow Rate ____(l/s) |
|  | Excreta containment structures cracked, broken, overflowing, leaking, flooded, inadequately covered or sealed? Inadequate protection from surface water infestation? Incorrect flow rates (high)? | Insufficient treatment or retention times? Presence of excreta in the facility public environment? Lack of maintenance equipment (buckets, shovels, brushes, etc.)? Inadequate fencing? | Poor maintenance schedule / lack of cleaning / replacement? Lack of onsite showers for personnel? Lack of personal protective equipment for workers? _________________________ _________________________ |
| Management | ( # Shovels _____ ( # Wheelbarrows ____ ( # Buckets _____ ( # Brushes _____ ( # Mops _____ ( # Backpack Sprayers ____ ( # Overalls ____ ( # Thick Soled Boots _____ ( # Thick Gloves ____ ( # Aprons ___ ( # Eye Protection ____ ( # Masks ____ ( # Chlorine ____(kg) ( Detergent ____(l) |
|  | ( Number of Cleaners ______ ( Number of Sanitarians ______ ( Cleaning Stocks ______(weeks) |
|  | Insufficient cleaning and maintenance staff? Staff insufficiently trained? Lack of maintenance equipment? | Poor routine cleaning and maintenance schedule? Lack of personal protective equipment for health-care waste personnel? | Lack of clean-up equipment and consumables? Lack of on-site showers for workers? _________________________ |

| SECTION III: HEALTH-CARE FACILITY WASTEWATER DISPOSAL ASSESSMENT |
| --- |
| Grey water Collection | ( Bucket ( Drum ( Basin ( Wastewater Holding Tank ( Other ____________ (tick all that apply) |
|  | ( Handwashing Points with Grey water Collection ___ ( Handwashing Points with Grey water Disposal ___ |
|  | Risk of spillage or contact with grey water during movement / emptying? Lack of disinfection of grey water from isolation areas up to 0.2% Cl. | Grey water collection vessel overflowing, leaking? Grey water from cleaning / bathing / handwashing or laundering visibly present in public environment? | Insufficient number of grey water collection points? Lack of dedicated grey water disposal for isolation areas? _________________________ _________________________ |
| Transport | ( Open Drainage Canal ( Covered Drainage Canal ( Wastewater Pipe Other ____________ |
|  | ( Canal / Pipe Lengths ______(m) ( Canal / Pipe Diameters ______(mm) ( Canal / Pipe Material ______ |
|  | Grey water canal blocked / leaking / overflowing into public environment? | Grey water conveyance system uncovered / open to environment? | _________________________ _________________________ _________________________ |
| Treatment / Disposal | ( Offsite Sewage Treatment Works ( Soakage Pit ( Infiltration Trenches ( Combined Sewer ( Combined Septic Tank ( Constructed Wetlands ( Other ____________ |
|  | ( Width ____(m) Height ____(m) Length ____(m) ( Volume ____(m3) ( Design Flow Rate ____(l/s) |
|  | Unsafe disposal of grey water from cleaning / bathing / laundry / handwashing? Insufficient grey water treatment retention times? | Wastewater treatment / disposal system structure cracked / broken / leaking? Incorrect flow rates (too high)? Final effluent disposal < 1.5m / 5ft above groundwater level? | Lack of disinfection of wastewater from isolation areas up to 0.2% Chlorine? Inadequate fence? _________________________ _________________________ |
| Stormwater | ( Concrete Lined Drain ( Earth Lined Drain ( Other ____________ |
|  | ( Drain Width ____(m) Drain Depth ____(m) Drain Length ____(m) |
|  | Absence of stormwater drain network? Stormwater drains blocked / overflowing / inadequate? | Stormwater drains carrying potentially infectious material out of health-care facility? Drains poorly maintained? | Stormwater drains poorly levelled (standing water)? _________________________ _________________________ |

| SECTION IV: HEALTH-CARE WASTE MANAGEMENT ASSESSMENT |
| --- |
| Collection | ( Sealed Puncture-Proof Sharps Box ( Strong Leak Proof Plastic Bags ( Metal Waste Bins ( Plastic Waste Bins ( Wooden Baskets ( Other ____________ (provide data and tick all hazards that apply) |
|  | ( # Sharps Boxes _____ ( # Non Sharp Infectious Waste Bins _____ ( # General Waste Bins _____ |
|  | Lack of waste segregation? Lack of waste colour coding? Waste containers full or overflowing? Waste containers or bags inadequately covered, sealed, or leaking fluids? | Insufficient # of containers (one container within dropping distance of every location where waste generated, or one general bin per 20 patients)? Sharps container not puncture-proof or tamper proof | Lack of immediate disposal of used sharps at generation? Irregular container cleaning / disinfection (minimum weekly)? Fly or other vector infestation? _________________________ _________________________ |
| Conveyance | ( Trolley ( Cart ( Wheelbarrow ( By Hand ( Other ____________ ( tick all hazards that apply) |
|  | ( Number of Trolleys _____ ( Number of Carts _____ ( Number of Wheelbarrows ______ |
|  | Lack of adequate sealing of sharps boxes or health-care wastes in robust waterproof sacks before removal? Lack of personal protective equipment? | Mode of conveyance / handling inadequately protects staff / patients / environment? Lack of clean-up equipment and consumables for spills (buckets, mops, chlorine, and detergent)? | Bags or containers of health-care waste or sharps visibly broken / leaking? Lack of on-site showers for health-care waste workers? _________________________ |
| Storage | ( Locked Waste Storage Room ( Locked External Waste Storage Enclosure ( Other ____________ |
|  | ( Volume of Waste Storage Space ______(m3) |
|  | Intermediate storage facility adequately protects bags / containers from environment (wind, rain, or sun)? | Waste storage bags / containers inadequately covered or sealed, visibly broken or leaking? | Intermediate storage location inadequately locked / fenced? _________________________ _________________________ |
|  | Note: storage of health-care waste is only acceptable if there is a routine collection service e.g. in urban areas. In all other cases, wastes should be disposed of immediately in an on-site facility. |
| Treatment / Disposal | Sharps Waste | Non-Sharp Infectious | Non-Infectious | Expired Drugs |
|  | ( Sharps Pit ( Incinerator (>800°C) ( Incinerator (<800°C) ( Oil Drum Incinerator ( Off-Site Treatment ( Other ____________ | ( Placenta Pit ( Incinerator (>800°C) ( Incinerator (<800°C) ( Oil Drum Incinerator ( Off-Site Treatment ( Other ____________ | ( Oil Drum Incinerator ( Open Fire Pit ( Small Waste Pit ( Sanitary Landfill ( Other ____________ | ( Placenta Pit ( Incinerator (>800°C) ( Incinerator (<800°C) ( Oil Drum Incinerator ( Off-Site Treatment ( Other ____________ |
|  | ( Number Sharps Pits _____ ( Capacity _____(m3) ( Free Space _____(%) ( Number Placenta Pits _____ ( Capacity _____(m3) ( Free Space _____(%) ( Number General Waste Pits _____ ( Capacity _____(m3) ( Free Space _____(%) ( Number of Low Temp Incinerators ______ ( Type ______ ( Capacity ____ (sharps boxes /hour) ( Number of High Temp Incinerators ______ ( Type ______ ( Capacity ____ (sharps boxes /hour) |
|  | Health-care waste disposal area unlocked or insecure? Disposal area <50m / 150ft of facility or water source? Waste pits visibly cracked / broken / leaking? Waste pits <1.5m / 5ft above groundwater level? Disease vector infestation? | Waste pits inadequately covered or sealed (concrete slab, locked access door)? Headwalls of pits < 30cm / 1ft above ground (inadequate protection from surface water)? Untreated health-care wastes observed in the disposal area or facility public environment? | Incineration infectious wastes or sharps < 800°C / 1,500°F? Incinerator located <50m / 150ft from health facility (air quality)? Soil covering of sanitary landfill less than 0.5m / 2ft? Presence of vermin or other vectors? _________________________ |
| Management | ( # Shovels _____ ( # Wheelbarrows ____ ( # Buckets _____ ( # Brushes _____ ( # Mops _____ ( # Backpack Sprayers ____ ( # Overalls ____ ( # Thick Soled Boots _____ ( # Thick Gloves ____ ( # Aprons ___ ( # Eye Protection ____ ( # Masks ____ ( # Chlorine ____(kg) ( Detergent ____(l) |
|  | Insufficient numbers of health-care waste staff? Staff insufficiently trained? Lack of waste containers? | Lack of personal protective equipment? Lack of waste related injury reporting, logging and action? | Lack of clean-up equipment? Lack of on-site showers for waste management staff? _________________________ |

| SECTION V: HEALTH-CARE FACILITY DISEASE VECTOR CONTROL HAZARD ASSESSMENT |
| --- |
| Breeding Sites | ( Cockroaches ( Flies ( Ants ( Bats ( Mosquitoes ( Rodents ( Ticks ( Fleas ( Lice ( Spiders ( Scorpions ( Dogs ( Other ____________ |
|  | Observation of disease vector infestation? Solid waste or food waste visible in environment? Standing water or grey water present? Blocked ditches? | Water sources inadequately sealed from vectors? Long grasses <100m / 300ft of health-care facility? Floors and surfaces unsanitary (lack of daily cleaning with detergent and hot water)? | Latrine pits, septic tanks, or waste pits inadequately protected from vectors? Bathrooms, kitchens, wards, waste area unsanitary (presence of wastes, excreta)? _________________________ |
| Barriers | ( Fly Screening ( Fly Curtains ( Insecticide Treated Mosquito Nets ( Other ____________ |
|  | ( Quantity of Mosquito Nets in Use ______ ( Quantity of Mosquito Nets in Stock ______ |
|  | Lack of window and door screens (<1.5mm / 1/16”)? Unprotected openings into health facility structure? | No mosquito screen (<1.5mm / 1/16”) around latrine vent pipes. Inadequate fly screens or food covering in kitchen area. | Lack of insecticide treated mosquito nets for inpatients. _________________________ _________________________ |
| Chemicals | ( # Backpack Sprayers ______ ( # Thermal Fogging Machines ______ ( Other ____________ |
|  | ( Type of Backpack Sprayer ______ ( Quantity ______ ( Capacity ____________(litres) ( Type of Thermal Fogging Machine ______ ( Quantity ______ ( Capacity ____________(litres) |
|  | Lack of routine residual spraying or fogging program in mosquito prone areas.. | Lack of annual bed net re-treatment with insecticide at the start of the mosquito season. | _________________________ _________________________ _________________________ |
| Food Wastes | ( # Plastic Bins ______ ( # Metal Bins ______ ( Detergent ______(l) ( Cleaning Equipment ______ ( # Drying Racks _______(m2) ( Other _______ |
|  | Inadequate protection of food stores from vectors? Kitchen or eating area surfaces, floors or utensils inadequately cleaned? | Uncovered / leaking food waste bins? Food wastes inadequately disposed in facility grounds or waste disposal area? | _________________________ _________________________ _________________________ |
| Management | ( # Overalls ______ ( # Boots______ ( # Thick Gloves_______ ( # Aprons ______ ( # Eye Protection ______ ( # Respiratory Masks ______ ( Other _______ |
|  | Staff insufficiently trained on use of vector control equipment and chemicals? Lack of equipment (shovels, wheelbarrows, slashers)? | Lack of personal protective equipment for vector control personnel (overalls, boots, gloves, aprons, eye protection, masks)? | Lack of on-site showers for vector control staff? _________________________ _________________________ _________________________ |

| SECTION VI: HEALTH-CARE FACILITY HANDWASHING ASSESSMENT |
| --- |
| Hardware | ( Water ( Soap ( Paper Towels ( Electric Dryers ( Other ____________ |
|  | ( # Functional Handwashing Points ________ ( Total Daily Users _______ ( Coverage Rate ________ |
|  | Absence of handwashing stations < 5m / 15ft of every toilet, where health-care is provided, where food is prepared or eaten or at isolation entry & exits? | Grey water disposal system does not protect users or environment from contamination? Absence of soap or water? Unsanitary hand drying operations? | Absence of critical handwashing supplies (soap)? _________________________ _________________________ _________________________ _________________________ |
| Promotion | ( Posters ( Briefings ( Dedicated Hygiene Promotion Staff ( Other ____________ |
|  | ( Number of Dedicated Hygiene Promotion Staff ______ |
|  | Absence of posters reminding users of correct handwashing procedure? | Lack of basic hygiene information during visit starting within 30 mins of arrival? | Lack of dedicated hygiene promoters? _________________________ |

| SECTION VII: HEALTH-CARE FACILITY INFECTION CONTROL ASSESSMENT |
| --- |
| Clinical Handwashing | ( Water ( Soap ( Paper Towels ( Electric Dryers ( Other ____________ |
|  | ( # Functional Handwashing Points ________ ( Total Daily Users _______ ( Coverage Rate ________ |
|  | Absence of operational handwashing stations (water, soap, safe drainage) in every location where health-care is provided including entry and exits of isolation areas? Lack of staff handwashing before and after a shift? | Lack of staff handwashing directly before and after every patient contact, including non-invasive procedures or even if wearing gloves? Lack of handwashing directly after handling infectious materials or disposing of body fluids - even if wearing gloves? | Lack of handwashing when entering and leaving high risk areas such as surgeries, delivery rooms, and isolation areas? Absence of posters reminding staff of correct clinical handwashing procedure? _________________________ |
| Personal Protective Equipment | ( # Disposable Gloves _______ ( # Disposable Plastic Aprons______ ( # Overalls ______ ( # Face Masks ______ ( # Respiratory Masks ______ ( # Eye Protection ______ ( Other _______ |
|  | Absence of disposable gloves for invasive procedures, contact with sterile sites or activities assessed as carrying a risk of exposure to blood, body fluids, secretions or excretions, or to sharp or contaminated instruments? Hands not decontaminated every time gloves removed? | Disposable gloves not changed between patients, or between activities for the same patient? Absence of disposable plastic aprons if risk clothing may be exposed to blood, body fluids, secretions or excretions? Absence of respiratory protective equipment when there is a risk of respiratory infection. | Plastic aprons not worn as single-use items, for each episode of patient care. Absence of face masks or eye protection where there is a risk of blood, body fluids, secretions or excretions splashing into the face and eyes? Lack of PPE disciplinary procedures? _________________________ |
| Cleaning / Disinf / Steriliz | ( # Brushes ______ ( # Mops ______ ( # Buckets ______ ( Qty Detergent ______(litres) ( Qty Chlorine ______(kg) ( # Autoclaves ____________ ( Other ____________ |
|  | Absence of clear cleaning schedule and frequencies for different facility zones, surfaces and fittings. Spills of blood and body fluids inadequately or tardily absorbed, cleaned and disinfected? | Lack of dedicated cleaning equipment for each health-care zone (i.e. equipment used to clean toilets should not be used to clean the operating theatre). Inadequate disinfection of mattresses / pillows between patients or whenever soiled? | Floors or health-care surfaces visibly dirty? Bedding mats not destroyed or replaced between patients? Inpatient spacing <1.0m? Lack of adequate steam, heat or chemical sterilization of medical equipment? |
| Isolation Areas | ( # Foot Sprayers ______ ( # Footbaths ______ ( # Handwashing Stations ______ ( # Entry / Exit Guards ______ ( # Dedicated Toilets ______ ( # Dedicated Showers ______ ( # Dedicated Laundry Points ______ ( # Dedicated Waste Disposal Points ______ |
|  | Absence of guarded footbath and handwashing stations at entrances / exits? Lack of dedicated toilets, showers, and laundry? | Lack of safe, dedicated disposal facility for blood and body fluids? Lack of dedicated staff and visitor changing area for PPE? | Lack of dedicated cleaning equipment for isolation area? Lack of hygiene education for patients, carers and visitors? _________________________ |
| Laundry | ( # Laundry Collection Bins ______ ( # Laundry Collection Bags ______ ( # Laundry Trolleys ____ ( Drying Facilities _______(m2) ( Ironing Facilities ______ ( Other ____________ |
|  | Inadequate handling, transportation and disinfection of soiled bed linen or medical garments? | Inadequate washing, drying, or storage of bed linen and medical garments? | Lack of PPE equipment for laundry staff? _________________________ _________________________ |
| Management | ( Training Programme ( Equipment ( Consumables ( Personnel ( Procedures |
|  | Staff inadequately trained in infection control basic precautions? Inadequate numbers of staff for laundry / cleaning? Lack of written and enforced infection control policy? | Inadequate handling and management of dead bodies? Absence of disciplinary measures related to breaches in infection control? Insufficient stocks of personal protective equipment? | Lack of infection control monitoring and follow-up? Poor routine cleaning? Vaccinations not up to date? Lack of on-site showers for infection control workers? _________________________ |

| SECTION VIII: HEALTH-CARE FACILITY WATER QUALITY TESTING |
| --- |
| Relevant water quality parameters to be tested vary from context to context depending upon the nature of the source of water (groundwater or surface water), the nature of rocks making up groundwater aquifers, and the nature of land use (industrial and agricultural activity) around the health-care facility. During the emergency phase it will be valuable to monitor these indicators (in particular free chlorine residuals if water chlorination activities are being initiated) on a daily basis. In more stable situations, the frequency will be less. Some parameters are unlikely to change much over time (such as the levels of groundwater mineral contaminants such as arsenic and fluoride). At a minimum, these indicators need to be measured once as a baseline and then at least quarterly throughout the emergency response. If the health-care facility is supplied with mains water from a reliable public network, it is still necessary to test for free chlorine residual and faecal coliforms. If groundwater aquifers are known to contain traces or arsenic, fluoride, iron, manganese, or other minerals then these parameters should be tested. Surface waters in areas where industrial or agricultural activities are commonplace should be sent to national laboratories for broad spectrum testing of multiple industrial and agricultural contaminants. If a sanitary survey shows there is a risk that water could be contaminated from latrines, septic tanks, sewers, or agricultural activity then the water should be tested for nitrates in addition to faecal coliforms. Water samples should be taken at a minimum from the water source and point of water collection. Complex water systems may require samples at intermediary stages e.g. storage or following treatment. |
| Location | Parameter | Frequency | Standard / Target | Means of Verification |
| Groundwater source | Faecal contamination | Monthly | 0 fcu/100ml | Water sampling at point of abstraction |
|  | pH | Monthly | 6.5 – 8.5 |  |
|  | Turbidity | Monthly | <5 NTU |  |
|  | Arsenic | Quarterly | 0.05 mg/l |  |
|  | Fluoride | Quarterly | 1.0 – 1.5 mg/l |  |
|  | Iron* | Quarterly | 0.3 mg/l |  |
|  | Manganese* | Quarterly | 0.1 mg/l |  |
|  | TDS | Quarterly | 1000 mg/l |  |
| Surface water source | Faecal contamination | Monthly | 0 fcu/100ml | Water sampling at point of abstraction |
|  | pH | Monthly | 6.5 – 8.5 |  |
|  | Turbidity | Monthly | <5 NTU |  |
|  | TDS | Quarterly | 1000 mg/l |  |
|  | Broad spectrum contaminant analysis | Quarterly | - - - |  |
| Piped mains water | Faecal contamination | Monthly | 0 fcu/100ml | Water sampling at point of entry |
|  | Free chlorine residual | Weekly | >0.5 mg/l |  |
|  | pH | Monthly | 6.5 – 8.5 |  |
|  | Turbidity | Weekly | <5 NTU |  |
| Water collection point | Faecal contamination | Monthly | 0 fcu/100ml | Random selection of 4 water collection points |
|  | Free chlorine residual | Weekly | > 0.5mg/l |  |
|  | Turbidity | Weekly | < 5 NTU |  |
|  | Flow | Quarterly | 0.33 l/s |  |

* Levels of Iron and Manganese of above 0.3 mg/l and 0.1 mg/l are not hazardous to health, however the adverse taste may causes users to abandon the source in favour of another unprotected source.

| SECTION IX: HEALTH-CARE FACILITY WASH ASSESSMENT - KEY INFORMANT QUESTIONS |
| --- |
| These key informant primer questions have been compiled as an aide memoire to help find out: What health-care facility staff feel are the key public health hazards including underlying causes? What health-care facility staff feel are the solutions to various public health hazards? The aim of the tool is to help collect background information on WASH issues that may not be obvious from direct observation, in particular any underlying non-technical causes (e.g. social or managerial). Try to interview a number of key staff (Director, Head Sanitarian, Medical Staff) and triangulate responses. The list of questions is not exhaustive and is merely intended as a conversation primer. It may be helpful to review the list of questions and construct conversation guides for each specific person. Additional questions should be formulated based on the replies received and the emergency context. Try not to simply read the questions directly off the list. Instead use the themes as conversation starters. There is no need to ask all questions on the list. Choose only the themes that are relevant to the context. Try to keep questions as open-ended as possible. Ask staff for their opinions. Keep probing for answers. Try to avoid overburdening respondents - concentrate on factors that pose the greatest health risk first. You can use the interview to debrief staff - if it is carried out after the infrastructure assessment. |
| General | General background information on number of staff and users. How many staff, inpatients, inpatient carers, and outpatients are present in the health facility every day? Have you seen the number increase as a result of the emergency or do you expect it to increase? What is the capacity (number of beds) and do you have temporary space for expansion if required? General perceptions of key public health hazards in the health-care facility. What do you feel are the biggest challenges in ensuring that the facility is free from public health risks? Where are the biggest hazards out of water quality, water quantity, excreta disposal, infection control, health-care waste management, laundering facilities, bathing facilities, handwashing and vector control? Where geographically in the health-care facility are the biggest hazards? What do you feel are the solutions? |
| Water | Perceptions concerning water quantity for the health-care facility. How much water is typically available / collected per day? Do you feel there is enough for cleaning, laundering, handwashing, drinking, bathing, infection control? Was there more water before the emergency or has the emergency caused interruptions in supply? Perceptions concerning water quality in the health-care facility. Do you feel the water is of good quality? Was the quality of the water better before the emergency? Do some parts of the health-care facility have better water quality than others? Where along the water chain do you feel are the biggest risks to water quality? What do you feel could be done to improve the water quality? Discussion concerning water sources supplying the health-care facility. What are the main sources of water for the health-care facility? How far are these water sources? Who takes care of these sources? Is there any change in the water collection pattern during the year? Do you feel these water sources are sufficiently safe and sanitary? Are there any safer alternative water sources that could be exploited? Discussion concerning water management and what happens during system breakdown. Does the water system ever break down? Whose responsibility is it to get the system working when the water source/system breaks down? Do you feel there are enough staff to operate and maintain the water supply system? Do you feel they have sufficient tools, materials, and training? Discussion concerning safe water storage in the health-care facility. How is water stored in the health-care facility? Do you feel there is enough water storage? Does water ever run out? Is drinking water stored separately from water for washing, cooking, bathing or cleaning? How often are the water storage vessels cleaned, how are they cleaned, and who cleans them? Discussion concerning safe water treatment in the health-care facility. Is any form of water treatment practiced in the health-care facility (boiling, filtering, chlorination)? Can you suggestion any improvements that can be made to the treatment practices? Discussion concerning access to water points in the health-care facility. Are there water points in every part of the health-care facility where health-care is being provided? Are there any parts of the health-care facility with access problems (e.g. low flow rates, poor quality)? Do infection wards have their own dedicated water points? Do you feel that generally there are enough water points? |
| Excreta Disposal | Discussion concerning access to toilet facilities in the health-care facility. Are there toilet facilities in every part of the health-care facility where health-care is being provided? Are there any parts of the facility with problems (e.g. full, leaking, fly infestation, cleanliness)? Do you feel that generally there are enough toilets? Discussion concerning public health hazards from toilet facilities in the health-care facility. Where along the sanitation chain do you feel are the biggest public health hazards? Are there any high risk activities such as excreta conveyance, handling, tankering, lagooning? Where is the excreta finally disposed? Discussion concerning toilet design in the health-care facility. Do you think the toilet design is generally acceptable to children, the elderly, the infirm, disabled users? Do you have any suggestions for improving the design? Discussion concerning toilet cleaning, operation and maintenance. Who is responsible for cleaning the toilets and how often are they cleaned? Who is responsible for repairing, emptying or unblocking the toilets and sanitary systems? Do you feel there are enough staff considering the size of the health-care facility and number of toilets? Do you feel the staff have the correct tools, cleaning equipment, consumables and personal protection? |
| Wastewater Disposal | Discussion concerning infectious grey water disposal in the health-care facility. How is infectious grey water from laundering of soiled bedding, cleaning of isolation areas, patient bathing areas, or handwashing activities disposed? Do you have any suggestions for reducing the public health hazards fro m infectious grey water? Discussion concerning surface water management. When it rains, are there any problems with surface water drainage of the site? Are there any risks that contaminated rainwater could leave the site and contaminate the community? Who is responsible for clearing ditches and maintaining the drainage network? Do the staff have the correct tools and personal protective equipment to carry out this work? Do you have any suggestions for improving surface water management? |
| Health-care Waste Management | Perceptions concerning waste generation and collection in the health-care facility. How much sharps waste, infectious waste, and non-infectious waste is generated per day? Do you feel there are enough appropriate waste collection containers? Do you feel health-care wastes are adequately separated and managed? Do you have any suggestions for improving current practices? Perceptions concerning waste movement and storage at the health-care facility. How is health-care waste moved around the facility? Is health-care waste stored anywhere while it waits for treatment, collection or final disposal? What do you feel could be done to improve the movement or storage of wastes? Discussion concerning waste treatment and disposal at the health-care facility. How are the different wastes treated and finally disposed of at the health-care facility? Do you feel that the waste disposal site is large enough for the health-care facility? Do you have any suggestions for improving how health-care waste is treated or disposed? Discussion concerning waste disposal operation and management. Do you feel there are enough staff to collect and dispose of the waste at the health-care facility? Do you feel they have sufficient tools, materials and personal protective equipment, and training to keep the waste disposal chain safe for staff, patients and the environment? |
| Disease Vector Control | Discussion concerning disease vectors in the health-care facility? Do you have any problems with the presence of disease vectors in and around the health-care facility (such as vermin, bats, birds, mosquitoes, ants, cats, dogs)? Do you have any problems with stagnant water, blocked ditches, long grasses, infestations in latrine pits or septic tanks, or food or infectious waste management? Do you have any suggestions how vector control problems mentioned can be addressed? Discussion concerning disease vector control activities in the health-care facility? What sorts of vector control activities do you carry out (e.g. clearing breeding sites, barriers and screens, use of bed nets, waste management, cleaning and disinfecting, indoor residual spraying, and fogging)? Do you have any suggestions for improvements to vector control activities in the health-care facility? Discussion concerning vector control operation and management. Do you feel there are enough staff to carry out vector control activities at the health-care facility? Do you feel you have sufficient tools, equipment, materials and personal protective equipment, and training to carry out disease vector control activities? Do you have any access to specialist advice and services for vector control? What access have you had in the past, what access now, what access do you consider necessary? |
| Laundering and Bathing | Discussion concerning access to laundry facilities in the health-care facility. Are the health facility facilities for laundering, drying and storing bed linen and medical linen sufficient? Do you feel there are enough locations for public laundering and clothes / bedding drying? Do isolation areas have their own dedicated public laundry facilities? Are you aware of any problems with the laundering facilities and can you suggest any ways that laundry at the health-care facility can be improved? Discussion concerning laundry operation and management. Do you feel that soiled linen and medical linen is safely handled, transported, and disinfected? Do you feel there are enough staff to carry out laundry activities at the health-care facility? Do you feel they have sufficient disinfecting equipment, materials and personal protective equipment to carry out laundering activities? Can you suggest any ways that laundry operations can be improved? Discussion concerning access to bathing facilities in the health-care facility. Do you feel there are enough functional showers on-site for medical staff and other staff involved in the handling of infectious wastes (cleaners, sanitation workers)? Do you feel there are there enough functional public showers for patients and carers? Are there bathing facilities within easy access of every part of the facility where health-care is provided? Do any of the showers have problems (e.g. low flowrates, blockages, water of poor quality)? Do infection wards have their own dedicated public showering facilities? Are you aware of any problems with the bathing facilities and can you suggest any ways that bathing at the health-care facility can be improved? Discussion concerning bathing facility operation and management. Do you feel there are enough staff to ensure bathing facilities are adequately cleaned and operational? Do you feel they have sufficient tools, spare parts, disinfecting equipment, materials and personal protective equipment to ensure bathing facilities are clean and operational? Can you suggest any ways that bathing operations can be improved? |
| Food Safety | Discussion concerning food storage, preparation and food safety in the health-care facility. How is food stored, prepared, cooked, consumed, stored and disposed of in the health-care facility? Are food storage, preparation surfaces and cooking and eating utensils generally clean and sanitary? Are there issues with disease vectors around the food storage, preparation and consumption areas? Have there ever been any problems related to food safety in the health facility? Do you feel that staff preparing food are adequately trained in food hygiene practices? Do you feel there is any way that food safety can be improved at the health-care facility? |
| Handwashing Facilities & Promotion | Discussion concerning access to handwashing facilities in the health-care facility. Do you feel there are enough functional handwashing points within easy access of every part of the facility where health-care is provided, in every toilet block and where food is prepared or eaten? Do any of the handwashing points have problems (e.g. low flowrates, blockages, lack of soap)? Are you aware of any problems with the handwashing facilities and can you suggest any ways that handwashing at the health-care facility can be improved? Discussion concerning handwashing promotion and practice in the health-care facility. Are there any ongoing activities related to the promotion of handwashing in the health-care facility? Do you feel medical staff are correctly training in correct handwashing procedure? Do you feel inpatients, carers and visitors are sufficiently informed of the importance of handwashing? Do you feel there are sufficient visual reminders concerning the importance of handwashing? Discussion concerning handwashing facility operation and management. Do you feel there are enough staff to ensure handwashing facilities are adequately operational? Do you feel they have sufficient tools, spare parts, disinfecting equipment, and soap to ensure handwashing facilities are clean and operational? Can you suggest any ways that handwashing operation and maintenance can be improved? |
| Cleaning / Disinfection | Discussion concerning cleaning, disinfection and sterilization. How many cleaning staff do you have? How often is each part of the health-care facility cleaned? Do you feel there are enough staff for routine cleaning and disinfection of floors and surfaces? Do you feel you have sufficient dedicated cleaning equipment (mops, buckets, etc) and consumables (detergent, chlorine) for each health-facility zone? How are blood and body fluids absorbed, disinfected and disposed of? How is soiled linen handled, disinfected and cleaned? What procedures are in place for disinfecting beds between patients? What is the average spacing between beds? Do you feel the wards are overcrowded? What equipment do you have available for sterilizing medical equipment (autoclaves etc.)? Can you suggest any ways that cleaning, disinfection and sterilization operations can be improved? |

| Infection Control | Discussion concerning infection control management What procedures are in place for infection control? Do you have an infection control policy or protocol? Do you feel staff are fully aware and sufficiently trained in the infection control basic precautions (handwashing and antisepsis, use of personal protective equipment, safe handling of health-care wastes, management of isolation areas)? When was the last time refresher training was carried out? What training is given to new staff? Is there a disciplinary system in place for staff that do not respect infection control protocols? Is there a focal person or body in place for enforcing infection control measures? Are staff vaccinations against common infectious diseases up to date? Are disposable gloves worn for all invasive and non-invasive patient contact? Are disposable gloves worn as single use items, changed between each activity and between patients? Are disposable plastic aprons worn when there is a risk of exposure to blood or body fluids as single use items for each episode of patient care? Are disposable face masks, or glasses worn when there is a risk of blood or body fluid sprays? Do you feel you have sufficient supplies of personal protective equipment? How many months of stock do you currently have? Are clinical handwashing procedures respected by all staff (handwashing with soap before and after every shift, when entering and leaving isolation areas or high risk areas such as delivery rooms, directly after handling infectious materials and before and after each patient contact even if wearing gloves)? Can you suggest any ways that infection control can be improved? Discussion concerning isolation areas How are your isolation areas organized? Are any special procedures in place for isolation areas? Are entry and exits guarded and equipped with handwashing stations and foot sprayers / baths? Do you have adequate supplies of fencing, handwashing stations, backpack sprayers, footbaths? Do isolation areas have dedicated toilet, bathing, laundering, and health-care waste disposal areas? Can you suggest any ways that isolations areas can be improved? Dead body handling and management How are dead bodies handled and managed in the health-care facility? Do you have sufficient supplies of body bags, personnel protection equipment and chlorine? Are staff adequately trained in the handling and management of dead bodies? Where are dead bodies normally buried / cremated? Can you suggest any ways that management of dead bodies in the health-care facility can be improved? |
| --- | --- |
| Disaster Preparedness and Risk Reduction | Disaster preparedness and risk reduction What back-up arrangements for water and power do you have (e.g. backup pumps, generators)? What measures have you taken to ensure that critical WASH equipment (e.g. pumps, generators, water treatment units) are kept well maintained? What measures have you taken to ensure there is sufficient storage of water for the health-care facility? What measures have you taken to ensure that critical WASH equipment and supplies are adequately protected from flood water levels, or conflict damage? What back-up stocks of critical WASH supplies do you maintain (fuel, soap, chlorine, detergent, disposable gloves, disposable aprons, water treatment chemicals, water pump and water treatment unit spare parts, health-care waste bags, body bags etc.)? Do infection control, health-care waste, cleaning and WASH staff members have clearly defined emergency response roles and are they adequately trained in emergency response actions? Do you keep a reserve roster of trained WASH personnel that can be drawn on in times of disaster? Have you pre-identified physical spaces (car parks, courtyards, spare wards, additional sites that may be converted to patient care areas e.g. hotels, schools, community centres), staffing and supplies required for temporary expansion of inpatient capacity during patient surge? Is there a designated health-care facility emergency focal point to ensure appropriate coordination and management of each aspect of WASH service provision (water supply, excreta disposal, wastewater and site drainage, waste management, disease vector control, infection control, handwashing, hygiene promotion)? Can you suggest any ways that the health-care facility can prepare for emergencies? |

| SECTION X: PLAN VIEW SKETCH OF THE OVERALL FACILITY AND ITS GROUNDS |
| --- |
| Note I: Use a larger sheet of paper if this page is too small. Note II: Talk to the facility management – they may have copies of existing plans for the facility that you can photocopy. |
| Mark the following plus any additional features: ( buildings ( pathways ( access roads ( fences, gates & entrances ( parking areas ( streams ( wells ( borehole ( springs ( ponds ( water storage or treatment infrastructure ( water pipe networks ( stormwater channels ( water collection points and grey water channels ( toilets ( septic tanks ( sewers ( bathing areas and grey water channels ( laundering areas and grey water channels ( laundry drying areas ( isolation areas ( waste pits ( incinerators ( waste disposal area ( surface water drainage channels ( cooking areas ( storage facilities ( play areas | Mark any potential hazards & control measures: ( flooding ( damaged infrastructure ( open defecation ( uncontrolled health-care waste ( potential areas for installing additional water storage ( potential areas for new sanitation facilities ( potential water collection point upgrade / expansion ( potential bathing area upgrade / expansion ( potential laundering area upgrade / expansion ( potential waste disposal area upgrade / expansion ( wastewater channels lining / covering / infiltration ( potential improvement of stormwater management - stormwater ditches / filling of areas of ponding ( potential vector control activities ( potential paving of areas for emergency expansion |

SECTION XI: HEALTH FACILITY HAZARD ASSESSMENT SUMMARY – WATER SUPPLY CHAIN

Use this template to summarize the detailed water chain from source to point of consumption / use. Ask a staff member to show you the water source and ask them to physically walk you through the water network (i.e. from source, to storage, to treatment, to distribution, to consumption). As you follow the system, talk to users about problems, take photos, and use the hazard assessment questions in Section I of the CAT to help identify current or potential hazards. Note the top three hazards for each stage. Do not include hazards that are unlikely during the emergency phase or that have minor or insignificant consequences to health. Note I: Use a larger sheet of paper if this page is too small. Note II: You may need to photocopy this page if there are multiple water sources.

SECTION XI: HEALTH FACILITY HAZARD ASSESSMENT SUMMARY – EXCRETA DISPOSAL CHAIN

Use this template to summarize the detailed excreta disposal chain from origin to disposal. This may be incredibly simple (e.g. a simple pit latrine) – however in recent emergencies (e.g. Haiti) the sanitation chain has been complex resulting in significant public health hazards. Ask a facility staff member to show you the toilets and ask them to physically show you the elements (i.e. from toilet, to storage, to transfer station, to treatment / reuse / septic overflow / leach field etc). As you follow the system, talk to users about problems, take photos, and use the hazard assessment questions in Section II of the CAT to help identify current or potential hazards. Note the top three hazards for each stage. Do not include hazards that are unlikely during the emergency phase or that have minor or insignificant consequences to health. Note I: Use a larger sheet of paper if this page is too small. Note II: You may need to photocopy this page if there are multiple excreta disposal systems.

SECTION XI: HEALTH FACILITY HAZARD ASSESSMENT SUMMARY – GREY WATER DISPOSAL CHAINS

Use this template to summarize the detailed grey water disposal chain from origin to disposal. This may be incredibly simple (e.g. the use of simple soakaway pits) or it may be more complex if grey water is being collected, stored or moved (e.g. from temporary handwashing facilities). Ask a facility staff member to show you the places where grey water is created (i.e. showers, handwashing stations, laundering points) and ask them to physically show you the elements of the disposal system (i.e. canals, storage, septic systems, treatment systems, leach fields etc). As you follow the system, talk to users about problems, take photos, and use the hazard assessment questions in Section III of the CAT to help identify hazards, along with any control measures. Note the top three hazards for each stage. Do not include hazards that are unlikely during the emergency phase or that have minor or insignificant consequences to health. Note I: Use a larger sheet of paper if this page is too small. Note II: You may need to photocopy this page if there are multiple wastewater disposal systems being used.

SECTION XI: HEALTH FACILITY HAZARD ASSESSMENT SUMMARY – HEALTH-CARE WASTE CHAINS

Use this template to summarize the detailed health-care waste chains from origin to disposal. Ask a facility staff member to show you the places where health-care waste is created (i.e. wards, consultation rooms, delivery rooms, surgery, lab) and ask them to physically show you how each of the different waste types (i.e. sharps, non-sharp infectious wastes, non-infectious wastes, and hazardous wastes) are handled, moved, stored and finally disposed. As you follow the systems, talk to staff about problems, take photos, and use the hazard assessment questions in Section IV of the CAT to help identify hazards, along with any control measures. Note the top three hazards for each stage. Do not include hazards that are unlikely during the emergency phase or that have minor or insignificant consequences to health. Note I: Use a larger sheet of paper if this page is too small. Note II: You will need to photocopy this page for each type of waste being disposed.

SECTION XI: HEALTH FACILITY HAZARD ASSESSMENT SUMMARY

Use this template to document the infection control, disease vector, handwashing and hygiene promotion related hazards. Ask a facility staff member to show you the places where infection control, disease vector and handwashing and hygiene activities are carried out (i.e. wards, isolation areas, consultation rooms, delivery rooms, surgery, lab, kitchen, morgue). As you move around the facility, talk to staff about problems, take photos, and use the assessment questions in Section IV of the CAT to help identify hazards, along with any control measures. Note the top three hazards for each stage. Do not include hazards that are unlikely during the emergency phase or that have minor or insignificant consequences to health. Note I: Use a larger sheet of paper if this page is too small.

| SECTION XII: HEALTH-CARE FACILITY WASH ACTION PLAN |
| --- |
| WHO MONITORS? | NGO / Health-care Facility |  |  |  |  |  |  |  |  |  |  |
| WHO PAYS? | NGO |  |  |  |  |  |  |  |  |  |  |
| APPROX. COST? (USD$) | 400 USD$ + 20 USD$ per month |  |  |  |  |  |  |  |  |  |  |
| UNSKILLED LABOR REQUIRED? (man-days) | 1 man-day |  |  |  |  |  |  |  |  |  |  |
| SKILLED LABOR REQUIRED? (man-days) | 1 man-day |  |  |  |  |  |  |  |  |  |  |
| MATERIALS / CONSUMMABLES REQUIRED? (e.g. cement, pipes, soap, chlorine) | Buckets, 200l drum, chlorine, mixing stick, measuring cylinder, chlorine residual tester |  |  |  |  |  |  |  |  |  |  |
| TOOLS / EQUIPMENT REQUIRED? (e.g. spades, wheelbarrows) | Chlorine doser, plumbing wrenches, hacksaw, pipe threading machine |  |  |  |  |  |  |  |  |  |  |
| BY WHEN? | End of week |  |  |  |  |  |  |  |  |  |  |
| BY WHOM? | Health facility Sanitarian / NGO |  |  |  |  |  |  |  |  |  |  |
| WHAT? (List of priority control measures) | e.g. Chlorination of health-care facility water supply | 1. | 2. | 3. | 4. | 5. | 6. | 7. | 8. | 9. | 10. |

NOTE: You may need to photocopy this table if there are lots of urgent WASH control measures required.

# Text boxes

Current / Potential Hazards

1. _____________

2. _____________

3. _____________

( High  ( Med

( High  ( Med

( High  ( Med

System Element

( High  ( Med

( High  ( Med

( High  ( Med

WASTE MANAGEMENT

1. _____________

2. _____________

3. _____________

1. __________________

2. __________________

3. __________________

1. _____________

2. _____________

3. _____________

( High  ( Med

( High  ( Med

( High  ( Med

1. _____________

2. _____________

3. _____________

1. __________________

2. __________________

3. __________________

1. __________________

2. __________________

3. __________________

( High  ( Med

( High  ( Med

( High  ( Med

( High  ( Med

( High  ( Med

( High  ( Med

1. _____________

2. _____________

3. _____________

1. __________________

2. __________________

3. __________________

1. _____________

2. _____________

3. _____________

( High  ( Med

( High  ( Med

( High  ( Med

1. _____________

2. _____________

3. _____________

1. __________________

2. __________________

3. __________________

( High  ( Med

( High  ( Med

( High  ( Med

Control Measures

1. _____________

2. _____________

3. _____________

1. __________________

2. __________________

3. __________________

Current / Potential Hazards

( High  ( Med

( High  ( Med

( High  ( Med

1. _____________

2. _____________

3. _____________

1. __________________

2. __________________

3. __________________

( High  ( Med

( High  ( Med

( High  ( Med

EXCRETA DISPOSAL

1. _____________

2. _____________

3. _____________

1. __________________

2. __________________

3. __________________

WASTEWATER

( High  ( Med

( High  ( Med

( High  ( Med

1. _____________

2. _____________

3. _____________

DISEASE VECTORS

1. __________________

2. __________________

3. __________________

( High  ( Med

( High  ( Med

( High  ( Med

INFECTION CONTROL

1. _____________

2. _____________

3. _____________

1. __________________

2. __________________

3. __________________

( High  ( Med

( High  ( Med

( High  ( Med

System Element

1. ________________

2. ________________

3. ________________

1. ____________________________________

2. ____________________________________

3. ____________________________________

( High  ( Med

( High  ( Med

( High  ( Med

1. ________________

2. ________________

3. ________________

1. ____________________________________

2. ____________________________________

3. ____________________________________

( High  ( Med

( High  ( Med

( High  ( Med

1. ________________

2. ________________

3. ________________

1. ____________________________________

2. ____________________________________

3. ____________________________________

( High  ( Med

( High  ( Med

( High  ( Med

1. ________________

2. ________________

3. ________________

1. ____________________________________

2. ____________________________________

3. ____________________________________

( High  ( Med

( High  ( Med

( High  ( Med

1. ________________

2. ________________

3. ________________

( High  ( Med

( High  ( Med

( High  ( Med

( High  ( Med

( High  ( Med

( High  ( Med

( High  ( Med

( High  ( Med

( High  ( Med

WATER SUPPLY

1. ____________________________________

2. ____________________________________

3. ____________________________________

1. _____________

2. _____________

3. _____________

Level

1. _____________

2. _____________

3. _____________

Level

( High  ( Med

( High  ( Med

( High  ( Med

1. ________________

2. ________________

3. ________________

System Element

1. ____________________________________

2. ____________________________________

3. ____________________________________

( High  ( Med

( High  ( Med

( High  ( Med

1. _____________

2. _____________

3. _____________

1. __________________

2. __________________

3. __________________

1. __________________

2. __________________

3. __________________

1. _____________

2. _____________

3. _____________

Current / Potential Hazards

1. __________________

2. __________________

3. __________________

1. __________________

2. __________________

3. __________________

( High  ( Med

( High  ( Med

( High  ( Med

1. _____________

2. _____________

3. _____________

( High  ( Med

( High  ( Med

( High  ( Med

1. __________________

2. __________________

3. __________________

( High  ( Med

( High  ( Med

( High  ( Med

1. _____________

2. _____________

3. _____________

1. _____________

2. _____________

3. _____________

1. __________________

2. __________________

3. __________________

( High  ( Med

( High  ( Med

( High  ( Med

Control Measures

1. _____________

2. _____________

3. _____________

1. __________________

2. __________________

3. __________________

1. __________________

2. __________________

3. __________________

( High  ( Med

( High  ( Med

( High  ( Med

Level

1. _____________

2. _____________

3. _____________

System Element

Current / Potential Hazards

Control Measures

Control Measures

1. __________________

2. __________________

3. __________________

Control Measures

Level

Level

( High  ( Med

( High  ( Med

( High  ( Med

Cleaning / Disinfection Current & Potential Hazards

1. _____________

2. _____________

3. _____________

1. __________________

2. __________________

3. __________________

Level

WATER SUPPLY

( High  ( Med

( High  ( Med

( High  ( Med

1. _____________

2. _____________

3. _____________

1. __________________

2. __________________

3. __________________

1. __________________

2. __________________

3. __________________

( High  ( Med

( High  ( Med

( High  ( Med

1. _____________

2. _____________

3. _____________

( High  ( Med

( High  ( Med

( High  ( Med

1. __________________

2. __________________

3. __________________

Control Measures

Disease Vector Current & Potential Hazards

1. __________________

2. __________________

3. __________________

( High  ( Med

( High  ( Med

( High  ( Med

1. _____________

2. _____________

3. _____________

1. __________________

2. __________________

3. __________________

( High  ( Med

( High  ( Med

( High  ( Med

Level

Control Measures

Isolation Area Current & Potential Hazards

1. _____________

2. _____________

3. _____________

1. __________________

2. __________________

3. __________________

( High  ( Med

( High  ( Med

( High  ( Med

1. _____________

2. _____________

3. _____________

Level

Control Measures

Protective Equipment Current & Potential Hazards

1. __________________

2. __________________

3. __________________

( High  ( Med

( High  ( Med

( High  ( Med

Level

Control Measures

Handwashing Current & Potential Hazards

1. _____________

2. _____________

3. _____________

1. __________________

2. __________________

3. __________________

( High  ( Med

( High  ( Med

( High  ( Med

Level

Control Measures

Hygiene Promotion Related Current & Potential Hazards

1. _____________

2. _____________

3. _____________

1. __________________

2. __________________

3. __________________